[image: image1.wmf]
Air Monitoring Bulletin
Miller Comprehensive High School
1027 College Avenue

Regina, SK.  

Project No. R01.12
August 1, 2012

	Sample
	Date

Sampled
	Start

Time
	End

Time
	Activity
	Location
	Fibers

per cc.
	Comments

	3

	08/01/12
	14:15
	15:45

	Welding Shop – Air Clearance Following Asbestos Abatement
	Welding Shop – Inside Work Enclosure
	0.0014
	Fibre Level Acceptable.

Air Clearance Granted.

	4


	08/01/12
	14:15
	15:45


	Welding Shop – Air Clearance Following Asbestos Abatement
	Welding Shop – Inside Work Enclosure
	0.0021
	Fibre Level Acceptable.

Air Clearance Granted.


Note:  
Air samples were analyzed in accordance with the NIOSH 7400 Standard Method which is the accepted method in the Province of Saskatchewan.  Occupational Health & Safety of the Province of Saskatchewan has established a clearance level of 0.01 fibres/cc. following an asbestos process.  
Trent Blaus

Bersch & Associates Ltd.


[image: image1.wmf]_945285652

